- PREAMBLE

This is a summary of the GWMWater Fire Prevention Strategy Document which is available from District Managers.

Whilst the majority of GWMWater activities are undertaken in urban areas, some assets are located in rural areas and it is around these assets that the greatest potential fire risk occurs.

Many of the Corporation’s water storages and treatment plants are located out of town and are connected to the reticulation system via rising mains and/or trunk mains running through both crown land and private property.

The greatest fire threat comes from flammable vegetation and crops which grow around and adjacent to the storages, treatment plant works and pipelines which is ignited by work activities undertaken by GWM Water staff and contractors.

- PURPOSE

This procedure and the Fire Prevention Strategy aims to reduce the risk to life and property from Fire.

GWM water’s operational activities under this strategy include:-

- promoting fire awareness to all staff and contractors

- establishing operational strategies to reduce the risk of fire

- providing ready access to water supply for fire fighting purposes

- PROCEDURE

- Plant and Equipment

During the Fire Danger Period the use of Plant and Equipment such as tractors, slashers, chainsaws, welders, grinding wheels and oxy acetylene cutting equipment in the open requires extreme caution.

On days of Total Fire Ban the use of such equipment is banned without a permit from the CFA.

Any work likely to create a fire hazard should be avoided on a day of Total Fire Ban unless absolutely essential.  If any work is deemed necessary to be undertaken the conditions of the CFA permit  must be adhered to.

- Vehicles

CFA Regulations require that a water supply of at least 9 litres must be available when working in the open during the fire danger period.

All vehicles likely to operate in potential fire danger areas are required to be equipped with knapsacks during the fire danger period.

Hot exhaust systems are can cause the ignition of dry vegetation.

- Water Sampling on Total Fire Ban Days

If it is necessary to take water samples on a day of Total Fire Ban, the following shall apply:-

- Take the sample - do not put it off to a non Total Fire Ban day

- Do not use a naked flame to sterilise the tap

- Any non-flamed sample should be marked as such

- When taking the sample let the tap run longer than usual

- CFA Permit

GWM Water obtains an annual permit under Section 40 of the Country Fire Authority Act 1958, to operate such equipment on Total Fire Ban days in emergency situations only, between 1st December and 1st May each year.

A copy of this permit will be provided to District Managers each year along with the conditions of use.

The Fire Prevention Strategy document contains additional information such as the CFA Contact Officers and guidelines for the use of equipment and machinery during the Fire Danger Period.

- Responsibilities

It is the responsibility of staff to ensure that the requirements of the CFA permit are observed during the fire danger period and that a responsible attitude to the reduction of fire risk exists within the Authority.

- Fire Prevention Strategy

The Fire Prevention Strategy document has bee prepared to provide the appropriate information to GWM Water employees to minimise the possibility of fire as a result of normal work procedures and is available from District Offices.

## ATTACHMENT 2

# CFA  - EmergencyContact Numbers

| TOWN | URBAN | RURAL |
| --- | --- | --- |
| Antwerp |  | (03) 53975288 |
| Apsley |  | (03) 55861334 |
| Ararat | (03) 53522526 | (03) 53522526 |
| Berriwillock |  | (03) 50792313 |
| Beulah |  | (03) 53902317 |
| Birchip | (03) 54922582 |  |
| Brim |  | (03) 53904287 |
| Buangor |  | (03) 53545533 |
| Charlton | (03) 54911719 |  |
| Chillingollah |  | (03) 50353286 |
| Chinkapook |  | (03) 50353286 |
| Clear Lake |  | (03) 53881257 |
| Cowangie |  | (03) 50956207 |
| Culgoa |  | (03) 50772272 |
| Dimboola | (03) 53891790 |  |
| Donald | (03) 54971032 |  |
| Dooen |  | (03) 53847272 |
| Edenhope |  | (03) 55851509 |
| Elmhurst |  | (03) 53548304 |
| Glenorchy |  | (03) 53590213 |
| Goroke |  | (03) 53861264 |
| Great Western |  | (03) 53562209 |
| Halls Gap / Bellfield |  | (03) 53564286 |
| Harrow |  | (03) 55881227 |
| Hopetoun | (03) 50833441 | (03) 50833243 |
| Horsham | (03) 53821313 |  |
| Jeparit | (03) 53972032 |  |
| Jung |  | (03) 53847303 |
| Kaniva | (03) 53922206 |  |
| Kiata |  | (03) 53899214 |
| Lake Bolac |  | (03) 53502288 |
| Lalbert |  | (03) 54573221 |
| Lascelles |  | (03) 50816207 |
| Lillimur |  | (03) 53931278 |
| Manangatang |  | (03) 50351407 |
| Marnoo |  | (03) 53592231 |
| Minyip | (03) 53857321 | (03) 53857321 |
| Miram |  | (03) 53911239 |
| Moyston |  | (03) 53542509 |
| Murrayville |  | (03) 50952207 |
| Murtoa | (03) 53852272 | (03) 53852272 |
| Nandaly |  | (03) 50781250 |
| Natimuk | (03) 53871281 | (03) 53871228 |
| Nhill | (03) 53911239 |  |
| Noradjuha |  | (03) 53871488 |
| Nullawil |  | (03) 54935258 |
| Ouyen |  | (03) 50921507 |
| Patchewollock |  | (03) 50841387 |
| Pimpinio |  | (03) 53842217 |
| Pomonal |  | (03) 53566207 |
| Quambatook |  | (03) 54571320 |
| Rainbow | (03) 53951393 | (03) 53951270 |
| Rupanyup | (03) 53855271 | (03) 53855271 |
| Sea Lake | (03) 50701222 | (03) 50701222 |
| Serviceton |  | (03) 53931278 |
| Speed |  | (03) 50824285 |
| St Arnaud | (03) 54951300 |  |
| Stawell | (03) 53591919 | (03) 53581740 |
| Streatham |  | (03) 53402176 |
| Tarranyurk |  | (03) 53975253 |
| Tempy |  | (03) 50936227 |
| Ultima |  | (03) 50396307 |

ATTACHMENT 1

WHAT TO DO IF FIRE HAS BROKEN OUT

The first priority is to ensure the safety of all persons in the vicinity.  If in doubt evacuate to a safe location, taking note of the prevailing wind conditions and path of the fire.

- If a fire has broken out, use knapsack and/or other available equipment to attempt to extinguish

- If water supply exhausted and fire still burning, move to a safe distance from the path of the fire, contact local CFA brigade and Supervisor to report situation

- Provide details of nature and size of fire, location, access, name

- Warn people nearby or in potential path of fire

- Remain at a safe distance and await the arrival of the local CFA brigade

If fire extinguished prior to the brigade’s arrival, remain in the area to check that no further outbreak occurs until brigade arrives.

Refer Attachment 2 for local CFA brigades contact numbers or Dial 000.

ATTACHMENT 2

# CFA  - EmergencyContact Numbers

| TOWN | URBAN | RURAL |
| --- | --- | --- |
| Antwerp |  | (03) 53975288 |
| Apsley |  | (03) 55861334 |
| Ararat | (03) 53522526 | (03) 53522526 |
| Berriwillock |  | (03) 50792313 |
| Beulah |  | (03) 53902317 |
| Birchip | (03) 54922582 |  |
| Brim |  | (03) 53904287 |
| Buangor |  | (03) 53545533 |
| Charlton | (03) 54911719 |  |
| Chillingollah |  | (03) 50353286 |
| Chinkapook |  | (03) 50353286 |
| Clear Lake |  | (03) 53881257 |
| Cowangie |  | (03) 50956207 |
| Culgoa |  | (03) 50772272 |
| Dimboola | (03) 53891790 |  |
| Donald | (03) 54971032 |  |
| Dooen |  | (03) 53847272 |
| Edenhope |  | (03) 55851509 |
| Elmhurst |  | (03) 53548304 |
| Glenorchy |  | (03) 53590213 |
| Goroke |  | (03) 53861264 |
| Great Western |  | (03) 53562209 |
| Halls Gap / Bellfield |  | (03) 53564286 |
| Harrow |  | (03) 55881227 |
| Hopetoun | (03) 50833441 | (03) 50833441 |
| Horsham | (03) 53821313 |  |
| Jeparit | (03) 53972032 |  |
| Jung |  | (03) 53847303 |
| Kaniva | (03) 53922206 |  |
| Kiata |  | (03) 53899214 |
| Lake Bolac |  | (03) 53502288 |
| Lalbert |  | (03) 54573221 |
| Lascelles |  | (03) 50816207 |
| Lillimur |  | (03) 53931278 |
| Manangatang |  | (03) 50351407 |
| Marnoo |  | (03) 53592231 |
| Minyip | (03) 53857321 | (03) 53857321 |
| Miram |  | (03) 53911239 |
| Moyston |  | (03) 53542509 |
| Murrayville |  | (03) 50952207 |
| Murtoa | (03) 53852272 | (03) 53852272 |
| Nandaly |  | (03) 50781250 |
| Natimuk | (03) 53871281 | (03) 53871228 |
| Nhill | (03) 53911239 |  |
| Noradjuha |  | (03) 53871488 |
| Nullawil |  | (03) 54935258 |
| Ouyen |  | (03) 50921507 |
| Patchewollock |  | (03) 50841387 |
| Pimpinio |  | (03) 53842217 |
| Pomonal |  | (03) 53566207 |
| Quambatook |  | (03) 54571320 |
| Rainbow | (03) 53951393 | (03) 53951270 |
| Rupanyup | (03) 53855271 | (03) 53855271 |
| Sea Lake | (03) 50701222 | (03) 50701222 |
| Serviceton |  | (03) 53931278 |
| Speed |  | (03) 50824285 |
| St Arnaud | (03) 54951300 |  |
| Stawell | (03) 53591919 | (03) 53581740 |
| Streatham |  | (03) 53402176 |
| Tarranyurk |  | (03) 53975253 |
| Tempy |  | (03) 50936227 |
| Ultima |  | (03) 50396307 |

ATTACHMENT 2

CFA  - Emergency Contact Numbers (cont)

| Underbool |  | (03) 50946207 |
| --- | --- | --- |
| Waitchie |  | (03) 50392207 |
| Walpeup |  | (03) 50941307 |
| Warracknabeal | (03) 53981588 |  |
| Watchem |  | (03) 54981280 |
| Westmere |  | (03) 53506572 |
| Wickliffe |  | (03) 53503232 |
| Willuara |  | (03) 53541454 |
| Woomelang | (03) 50812047 |  |
| Wycheproof | (03) 54937360 | (03) 54937507 |
| Yaapeet |  | (03) 53957287 |

IF NO RESPONSE DIAL 000