| Parent Procedure(s): | - OHS Policy |
| --- | --- |

# PURPOSE

The purpose of this procedure is to ensure that a system is in place to provide guidance for the safety of persons when they are required to work in and around water (including working near and over water), or become exposed to a water hazard (i.e. high pressure) or liquid hazard (i.e. wastewater) at any of GWMWater’s sites.

# SCOPE

This procedure specifies GWMWater’s minimum safety requirements and is applicable to all staff and contractors (including sub-contractors) who may have cause to be in, or around, any body of water or other liquid where there may be a risk of falling in and/or becoming immersed at any of the following GWMWater sites:

- Pump Stations including existing and WMPP sites

- Water Treatment and Wastewater/Sewerage Treatment Plants

- Water Storage Tanks

- HDPE Lined Earthen Storages and Sludge Lagoons

- Community and Roadside water supply dams

- Rivers, Creeks and Channels

- Water in sumps, concrete pits and chambers

- Flocculent Tanks

Boating and diving work are not covered in this procedure. Refer to VicWater Civil Construction Safety Guides (Section 29) Work Involving Boats

- RESPONSIBILITIES

GWMWater staff are responsibly for following this procedure. Contractors appointed by GWMWater as a “Principal Contractor” for works shall also meet these requirements through their own safe systems of work.

## METHOD

Prior to undertaking any work in, around, near or over water at any GWMWater site, the following requirements shall be met:

4.1	Safe Work Method Statement (SWMS)

Step 1.		Access a SWMS/JRA template from CMS/1569 Job Risk Assessment Template CMS/2380 Animal Removal HDPE Storages JRA.

Step 2.		Access Safe Work Instruction guide from CMS/2381 Safe Work Instruction HDPE LWS Dead Animal Removal, CMS/368 Recycled water Safe Work Instructions, CMS/374 Wastewater Safe Work Instructions

Step 3.	Develop a Safe Work Method Statement (SWMS) that clearly identifies hazards, assesses risk and outlines safety control measures shall be undertaken in consultation with the work group and approved by a senior GWMWater staff member.

Step 4.	Conduct activity in accordance with SWMS

Step 5.	Review SWMS for any Opportunity for Improvement

Step 6.	Enter in Trim and send Trim reference to Senior OHS Officer for entry into CMS for future reference

The GWMWater OHS Officer can assist in this process if required.

An Emergency Response Plan shall be developed within the Safe Work Method Statement for sites where hazard identification studies have indicated the potential for water safety incidents to occur.

Examples of tasks where SWMS are required are:

- Removal of animals from water

- Water sampling

- Boating

- Chemical Spraying

  - DOCUMENTATION

5.1	References

- Victorian OH&S Regulations 2017 – High risk construction work & SWMS

- VicWater Civil Construction Safety Guides (Section 29) Working on or near water, Work involving Mobile Plant & Work involving boats

- Safe Work Instruction Guide – CMS/2381 Safe Work Instruction HDPE LWS Dead Animal Removal, CMS/368 Recycled water Safe Work Instructions, CMS/374 Wastewater Safe Work Instructions.

- SWMS – CMS/1569 Job Risk Assessment Template & CMS/2380 Animal Removal HDPE Storages JRA

  - Records

- Safe Work Method Statement

- Job Risk Assessment

- TRIM

- CMS

# DEFINITIONS

The following definitions are provided for terms used in this procedure:

Shall - The word “shall” is to be understood as mandatory and the word “should” as non-mandatory, advisory or recommended.

Water - Rivers, creeks, estuaries, lakes, wetlands, ponds, dams, open reservoirs, enterable stormwater drains and canals, enterable sewers, open sewage treatment processes, sewage outfalls, open water treatment processes, instantaneous water bodies caused by: water main breaks, sewer overflows, stormwater blockages, or heavy rainfall and flooding.

Water Hazard - A water hazard is a body of water that presents a risk of drowning to persons.

Working AROUND Water - Working in the vicinity of water for instance on a river bank

The reader is directed to the corporation’s standard definitions.