- Purpose

The purpose of this safe work instruction is to provide guidance and advice to management, supervisors, employees and contractors of GWMWater in relation to safety issues and the procedures that are to be followed when entering Control Valve pits on the Wimmera Mallee Pipeline.

- Scope

The scope of this safe Work Instruction applies to Wimmera Mallee Pipeline Project Control Valve pits that are under the direct control of GWMWater.

3	RESPONSIBILITIES

Management, supervisors, employees and contractors of GWMWater are responsible for following this safe work instruction.

## PROCEDURE

    - Pre Start Team Meeting prior to commencing task

    - Review Control Valve Pit JRA to establish Safe Work Methods for entry

4.1	General

Personal protective equipment (PPE) and Respiratory protective equipment (RPE) required is to be assessed prior to commencing task depending on assessment of task to be conducted within the Control Valve pit

- Two person minimum (Standby arrangement)

  - First Aid Level II qualified

  - First Aid kit on site

- Communications

  - Mobile phone (in service) or equivalent on site

- Fitness for task

  - Persons to enter must be fit for task

4.2	On arrival at Control Valve Pit

- Open both hatches on top of Control Valve pit for ventilation

- Check Communications are in service

- Put on PPE

- Open entry hatch and set up ladder for entry

4.3	Ensure fall protection is adequate

- Turn on lights to Control Valve pit or use torch if necessary

4.4	Upon Entry

- Inspect Control Valve pit for hazards

- Control hazards

- Isolate energy (if applicable)

- Check in with Standby person (ensure at hatch area)

- On completion of work check all equipment is removed from Control Valve pit

# DOCUMENTATION

5.1	Reference

- Operations Uniform and Personal Protective Equipment/Clothing Procedure

  - Records

- Control Valve Pit JRA

- DEFINITIONS

The reader is directed to the corporation’s standard definitions.