## Sheet1
Safe Work Method Statement (SWMS) For High Risk Construction Works
| Work Activity |  |  | CMS/1569 |  | 1 | YES
| Location: |  |  | Version 10 |  | 2 | NO
| Work Order Number |  |  | Date Approved: 31/01/2018 |  | 3 | N/A
| Responsible Person for implementing SWMS |  |  | Review Date: 31/01/2023 |  | 4
| Signature |  |  | Latest changes highlighted |  | 5
| Date |  |  |  |  | 6
7
HIGH RISK CONSTRUCTION WORKS | HAZARD | CONTROL |  | PPE |  | 7a
YES | YES | YES | ** | YES |  | 7b
Diving | Traffic | Barricades/ Safety Tape |  | Disposable Overalls |  | 8
Confined Spaces | Underground Services | Signage |  | Gloves |  | 9
Removal or Disturbance of asbestos | Electrical power | Traffic control |  | Eye |  | 10
Working near or on roads or railway | Unstable ground | Shoring |  | Half Faced P3 Respirator (Fit Check Conducted) |  | 10a
Working near overhead or underground services | Atmospheric conditions | Batter back/benching |  | Continuous Flow P3 Respirator |  | 10b
Working near mobile plant | Noise/Heat Stress | Sun Protection |  | Hearing |  | 10c
Trenches of Shafts greater than 1.5m | Chemical | Compliance with relevant procedure and/or safe work instructions |  | Biological Hand Soap |  | 11
Working with chemicals | Environmental | Clean-up site |  | Harness |  | 12
Heights of more than 2m | Mobile Plant | PPE |  | Breathing Apparatus |  | 13
Working adjacent, near or over water/liquids that pose drowning risk | UV | Admin/Permits |  | Hard Hat |  | 14
Demolition | Vermin | Lighting |  | Bike Helmet |  | 15
Working in areas of artificial temp extremes | Asbestos | Ventilation |  | Safety Boots |  | 16
Working in Contaminated or Flammable atmospheres | Access | Training |  | Hand Wash |  | 17
On or near electrical installations or services | Wastewater | Lock out/Tag out |  | Life Jacket |  | 18
Employees consulted, read and agreed with SWMS | Drowning | Communications |  | Safety Vest |  | 19
Names: | Falling from heights | Fall Prevention |  | High Vis Clothing |  | 20
| Slips and Falls | Mechanical Aid |  | Other (specify) |  | 21
| Manual Handling | Gas Detector |  |  |  | 22
| Working Alone | Services Locator Device |  |  |  | 23a
|  | Operator Competency |  | Risk Assessment completed to the best of my ability |  | 23b
|  | Biological Immunisations |  |  |  | 23c
23d
| ** Page reference Civil Contractor Safety |  |  |  |  | 23e
| Guide |  |  |  |  | 23f
| Comments: |  |  |  |  | 24
25a
25b
25c
25d
26
27
28
29
30
Responsible Person: OHS Officer
Authorised By: Corporate OHS Committee | Uncontrolled when printed. |  |  | Print Date: | 2020-03-12
Start